## 295K
1122 Tetrafluoroethyl 2,2,2, trifluoroethylether CAS 406-78-0
Resolution: 0.125 cm-1
Range: 400-4000 cm-1
1899-12-31 02:08
Date | FILE | MOLECULE | P1 | P2 | T | nb_scans | Note
|  |  | Torr | Torr | K
2026-02-23 | TETRA0001 | Baseline | 0.001 | 0 | 295.95 | 200 |  | Celsius | Kelvin
2026-02-23 | TETRA0002 | Y | 1.089 | 1.089 | 295.95 | 200 |  | 22.5 | 295.65
2026-02-23 | TETRA0003 | Y | 1.089 | 1.09 | 295.85 | 200
2026-02-23 | TETRA0004 | Baseline | 0.001 | 0.001 | 296 | 200
2026-02-23 | TETRA0005 | Y | 6.551 | 5.554 | 295.85 | 50
2026-02-23 | TETRA0006 | N | 6.553 | 6.55 | 295.95 | 50
2026-02-23 | TETRA0007 | N | 6.55 | 6.548 | 295.95 | 100 | check intensity, low SNR possible
2026-02-23 | TETRA0008 | Y | 6.544 | 6.55 | 295.75 | 200 | Had to refill LN2 and restart
2026-02-23 | TETRA0009 | Y | 6.55 | 6.547 | 295.75 | 100 | just in case 007 is bad
2026-02-23 | TETRA0010 | Baseline | 0.001 | 0.001 | 295.65 | 200
2026-02-25 | TETRA0011 | N | 0.001 | 0.001 | 295.15 | 200 | no dry air
2026-02-25 | TETRA0012 | Baseline | 0.001 | 0.001 | 295.05 | 200
2026-02-25 | TETRA0013 | Y | 9.33 | 9.322 | 295.05 | 50
2026-02-25 | TETRA0014 | Y | 9.321 | 9.32 | 295.25 | 50
2026-02-25 | TETRA0015 | Y | 9.32 | 9.32 | 295.25 | 100
2026-02-25 | TETRA0016 | Y | 9.32 | 9.321 | 295.25 | 200
2026-02-25 | TETRA0017 | Baseline | 0.001 | 0.01 | 295.345 | 200 | valve was closed
2026-02-25 | TETRA0018 | Y | 0.518 | 0.52 | 295.25 | 50
2026-02-25 | TETRA0019 | Y | 0.522 | 0.523 | 295.25 | 50
2026-02-25 | TETRA0020 | Y | 0.524 | 0.527 | 295.25 | 100
2026-02-25 | TETRA0021 | Y | 0.527 | 0.533 | 295.15 | 200
2026-02-25 | TETRA0022 | Y | 0.534 | 0.539 | 295.05 | 200
2026-02-25 | TETRA0023 | Baseline | 0.001 | 0.001 | 295.05 | 400

## 315K
1122 Tetrafluoroethyl 2,2,2, trifluoroethylether CAS 406-78-0
Resolution: 0.125 cm-1
Range: 400-4000 cm-1
Green cell: recalculate pressure
Rectification of pressure because of offset
Date | FILE | MOLECULE | P1 | P2 | T | nb_scans | Note |  |  | Green pressures in cold D and E are rectified.
|  |  | Torr | Torr | K |  |  | Celsius | Kelvin

## 335K
1122 Tetrafluoroethyl 2,2,2, trifluoroethylether CAS 406-78-0
Resolution: 0.125 cm-1
Range: 400-4000 cm-1
Green cell: recalculate pressure
Date | FILE | MOLECULE | P1 | P2 | T | nb_scans | Note
|  |  | Torr | Torr | K |  |  | Celsius | Kelvin